## cablecom_poles
_record_id | _status | _title | _server_updated_at | _project | _updated_by | _geometry | _latitude | _longitude | sequence_number | type_of_permit | permit_number | finalized_sequence_number | is_project_in_tukwila_or_auburn | jursidiction | id_photo | pud_pole_type | pse_pole_type | scl_pole_type | tpu_pole_type | birth_mark_photo | using_fulcrum_for_photos | whole_pole | tpu_whole_pole | comm | tpu_comm | right_span | calibrated_photo | a | tpu_right_span | left_span | tpu_left_span | grounding_photo | b | tag_ctl | tpu_tag | whole_pole_ctl | comm_ctl | inline | tag | photo | spool_rack_top | spool_rack_bottom | pse_tag_number | scl_tag_number | ftr_tag_number | pole_length | pole_top | primary_power | neutral_height | neutral_2 | neutral_2nd_attach | pud_fiber | guy_hk | guy_hk_2 | guy_hk_3 | secondary_spool | secondary_2 | secondary_2nd_attach | pse_primary_riser | primary_riser | primary_riser_2 | secondary_riser | secondary_riser_2 | drip_loop | buck_arm | streetlight | streetlight_grounded | streetlight_molded | catv | 2nd_attach | 3rd_attach | frontier | telco | telco_2 | telco_3 | telco_id | fiber | fiber_2 | fiber_3 | comm_1 | comm_2 | comm_3 | catv_midspan | comm_1_midspan | comm_2_midspan | comm_3_midspan | telco_midspan | telco_2_midspan | span_included_on_midspan_measurement | dont_use | transmission_pole_circumference | attacher_name_comm_1 | attacher_name_comm_2 | attacher_name_comm_3 | additional_measurements | notes | required_photos_taken | pole_ground_wire_present | final_pole_of_project | is_pole_located_correctly | are_all_poles_on_the_project_saved | have_pole_entries_been_reviewed_for_missing_attachments | are_all_the_required_photos_taken_for_each_pole | have_photos_been_reviewed_for_quality | field_tech_initials | power_supply_top | power_supply_bottom
365d441c-ca30-461e-afc9-6faeb1c30d8c | Fielded Pole | 1-1 | 2022-12-08 19:07:03 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607415 48.430056) | 48.4301 | -122.6074 | 1 |  |  | 1-1 |  | PSE | 14e5e3ad-c1b5-4a7b-acc7-64e1042a1006 |  | Transmission |  |  |  | yes | f041956f-91af-423f-b5e6-fde30e7bd394 |  | 63c8ce3a-3f5c-4ab4-a2d2-e58b2956cd26 |  | af32ee9c-e9d1-4b9c-916c-a573178ada1f |  |  |  | dde30749-8e8e-41b8-aa9b-c273675d77c6 | [6 empty] | c50961db-207d-4e67-ba15-92f4fc550d33,6803c88a-d94d-444a-9698-ffb75a10f2f5,aeb4d60a-164f-4f04-b54f-c25e23888b0c,113ac10f-3550-45f4-ba6e-d6d9fc6a0975,0da78371-fafb-436b-82d8-30e94770087e | [5 empty] | 452677-156958 | [5 empty] | 3400 | [9 empty] | 3311 |  |  | 3404 |  | 3304 |  |  |  |  | 2802 | [7 empty] | 2701 | [19 empty] | yes |  |  | yes
0624e4c8-3019-430f-a72c-0d788e4bfb68 | Fielded Pole | 2-1 | 2022-12-08 19:07:16 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607454 48.429351) | 48.4294 | -122.6075 | 2 |  |  | 2-1 |  | PSE | 880b1bdd-5350-4361-80cb-e510714ac232 |  | Transmission |  |  |  | yes | 5e931794-62e4-4426-b11f-0e25b831f53a |  | a4e87610-877f-40e2-a30d-a8f0a25345d4 |  | d0e4f41a-b5f6-49bc-9739-fe88a24853a0 |  |  |  | e3c17136-2eea-4044-a8a3-ddc85c652d90 | [12 empty] | 452654-156957 | [5 empty] | 2808 | [6 empty] | 2808 | [7 empty] | 2611 |  | 2605 | Yes | Yes | 2408 | [7 empty] | 2305 | [17 empty] | Drop: 2206 |  | yes |  |  | yes
e17f6329-e6d1-4af4-983d-565e010faa0b | Fielded Pole | 3-1 | 2022-12-08 19:07:52 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607391 48.428482) | 48.4285 | -122.6074 | 4 |  |  | 3-1 |  | PSE | 8cdafbf5-748d-4f5e-8973-cb96c7dc41b9 |  | Distribution |  |  |  | yes | 95c3983f-413c-4904-9650-6a18628b5568 |  | 0a02b7e1-a48d-4343-b7df-c6a9b13d3d4a |  | e0cbc22d-5301-45d4-b361-93b4f1262918 |  |  |  | 4e7d67e3-f4ea-4f45-85f9-ef21350a1917 | [18 empty] | 2702 | [6 empty] | 2702 | [7 empty] | 2509 |  |  |  |  | 2206 |  |  |  | 2003 |  |  |  | 2304 | [17 empty] | CATV second attach: 2201 Telco second attach: 2011 |  | yes |  |  | yes
76d6f9e7-51be-4ad3-bdc7-1fdfbf7b327f | Fielded Pole | 4-1 | 2022-12-08 19:09:00 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607404 48.427894) | 48.4279 | -122.6074 | 6 |  |  | 4-1 |  | PSE | 344996c9-9a3b-4d88-a065-cc77dae1008b |  | Distribution |  |  |  | yes | a1ca4c5d-01e0-4bf3-bb45-2b702c9b9206 |  | e0ca9e03-41ca-4d41-9a22-e9e259385d8a |  | 7732383f-63ac-4f7c-9021-2ce06e17b2ca |  |  |  | d1e4482a-5d78-48b5-bdc8-e0e34d263ef4 | [12 empty] | 452594-156957 | [5 empty] | 2500 | [6 empty] | 2500 | [7 empty] | 2302 |  |  |  |  | 2001 |  |  |  | 1807 |  |  |  | 2102 | [19 empty] | yes |  |  | yes
c05437ee-72ad-4a5d-bb85-f101c884354e | Fielded Pole | 5-1 | 2022-12-09 20:21:05 UTC |  | Matias Kariniemi | SRID=4326;POINT(-122.607419 48.427316) | 48.4273 | -122.6074 | 7 |  |  | 5-1 |  | PSE | ceb75909-4d6c-4cab-8175-4c271b825ee9 |  | Distribution |  |  |  | yes | e7add2dc-8253-4169-a7ef-aa8522e1a0da |  | d94e8314-eb6e-4c58-8f13-e5db3b341202 |  | 830eeb74-fbf3-4909-b45b-ac506dfb3712 |  |  |  | 8e74097c-7f1e-404d-b394-e6cfe9e9d013 | [18 empty] | 2608 | [6 empty] | 2608 | [5 empty] | 2600 |  | 2511 |  |  |  |  | 2106 |  |  |  | 2206 |  |  |  | 2305 | [19 empty] | yes |  |  | yes
5e58f7cf-44bf-49db-982b-2adbb4d7b8c5 | Fielded Pole | 6-1 | 2022-12-08 19:10:09 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.60743 48.426463) | 48.4265 | -122.6074 | 8 |  |  | 6-1 |  | PSE | e5c74996-b489-411b-9242-dd6e03059ab5 |  | Distribution |  |  |  | yes | c58a69ec-ca27-4695-9b73-cf2aff1e2396 |  | ce459833-4279-4619-94cf-e18d4f9d7a19 |  | 68b6031d-570d-42a2-9179-254557af0f8e |  |  |  | 144dd978-9cb5-4b69-9094-be1a1c36f780 | [12 empty] | 452550-156955 | [5 empty] | 3008 | [6 empty] | 3008 | [7 empty] | 2808 |  |  |  |  | 2509 |  |  |  | 2204 |  |  |  | 2606 | [19 empty] | yes |  |  | yes
034c6bb2-d8d2-43a6-8f12-5db15fdd1334 | Fielded Pole | 7-1 | 2022-12-08 19:11:41 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607444 48.425887) | 48.4259 | -122.6074 | 9 |  |  | 7-1 |  | PSE | 3e96301f-5efb-427a-a9d1-77edaa2df293 |  | Distribution |  |  |  | yes | 6802e2b7-f323-4669-9a2d-4f63a8896eab |  | 28fec922-4f1d-4e21-b7d0-204b24691578 |  | 26ad6382-441e-47f5-83f8-ec84b129d386 |  |  |  | 3e355544-9945-49a8-86dc-7fea2751c22e | [12 empty] | 452525-156956 | [5 empty] | 3006 | [6 empty] | 3006 | [5 empty] | 3000 |  | 2904 |  |  |  |  | 2304 |  |  |  | 2100 |  |  |  | 2403 | [19 empty] | yes |  |  | yes
03631473-e0dd-4d91-bae0-0aa29ae2dc8d | Fielded Pole | 8-1 | 2022-12-08 19:12:06 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607451 48.425317) | 48.4253 | -122.6075 | 10 |  |  | 8-1 |  | PSE | b04ed268-9a30-4f58-a866-712a983915ce |  | Distribution |  |  |  | yes | 1f82905a-c344-4dcc-8f86-a34252dfb7c6 |  | 73c3a64c-697d-4eed-a79d-54bb373801ce |  | fdbbc85e-4378-4deb-a2f4-050484f45ac2 |  |  |  | 68658036-31ab-40e2-ab0c-83c2c2c312d6 | [12 empty] | 452499-156952 | [5 empty] | 2910 | [6 empty] | 2910 | [7 empty] | 2902 |  |  |  |  | 2505 |  |  |  | 2500 |  |  |  | 2511 | [19 empty] | yes |  |  | yes
0fce13d0-e693-4f46-b2f9-a88500deb5ab | Fielded Pole | 9-1 | 2022-12-08 19:12:22 UTC |  | Thaddeus Ojala | SRID=4326;POINT(-122.607439 48.424899) | 48.4249 | -122.6074 | 11 |  |  | 9-1 |  | PSE | ed9d94a4-af35-435e-80a6-06ab42ea9a7b |  | Distribution |  |  |  | yes | 73143517-baf4-41f3-9960-8388aa573766 |  | a147b1f5-3d21-41c2-b865-e8fe349f129f |  | a62ea5a7-554e-472e-8de9-5e0d73f4a29c |  |  |  | 137a1541-1823-4300-ad53-befb86a38cb1 | [12 empty] | 452485-156949 | [12 empty] | 2508 | [5 empty] | 2510 |  | 2500 |  |  |  |  | 2304 |  |  |  | 2209 | [23 empty] | yes |  |  | yes